1

# SOP for Adam 4017+

- Materials require for testing:-

1. ADAM 4017+

  - SMPS(For Power Supply)

  - U-PORT

  - ADAM Apex Software(In PC)

- Now Connect All hardware as per below:

2

# SOP for Adam 4017+

3

SOP for Adam 4017+

- Now open ADAM Apex Software on PC.

4

# SOP for Adam 4017+

- Now this screen will appear.

- Now in Serial Tab click on COM that is assigned to U- PORT. (Like COM2 in this case).

5

SOP for Adam 4017+

- Now click on restore default & apply.

6

# SOP for Adam 4017+

- Right click on COM2 & select Search. After that start the search.

7

# SOP for Adam 4017+

- When ADAM will detect, Cancel the search & click on that, after click Data area.

8

# SOP for Adam 4017+

- Now short the ADAM as per below & it will reflect changes on Voltage.

9