## Slide 1: MES 2012 - Performance
Agenda
Contents
Module 1: Introduction
Module 2: Wonderware MES Client Overview
Module 3: Performance Model
Module 4: Utilization
Module 5: Overall Equipment Effectiveness
Module 6: Visualization
Module 7: Reports
Module 8: Application Maintenance

## Slide 2: MES 2012 - Performance
Module 1:
Introduction
Contents
Section 1: Course Introduction
Section 2: System Platform Overview
Section 3: Wonderware MES Software/Performance Overview
Section 4: Wonderware MES Software/Performance Components
Section 5: System Requirements and Licensing

## Slide 3
The class will focus on:
Preparing an MES system ready for data collection and configuring an App Server Galaxy to provide data
Using InTouch as a production environment tool to monitor and operate the production
Creating Downtime Analysis and OEE reports in WIS
Course Description

## Slide 4
Be able to:
Use MES Client to configure MES for production data collection
Develop and configure an Application Server Galaxy to collect production data
Build and use an InTouch application as a production environment tool to monitor and operate production
Track the production results through Down Analysis and OEE reports
Course Objectives

## Slide 5: MES Performance Features
Equipment Utilization
Ability to Detect and Capture Utilization Events
Ability to View Equipment Events
Ability to Monitor and Record Equipment State
Ability to Automatically or Manually Assign Reason Codes
Equipment Performance
Ability to Calculate OEE for Equipment / Line
Ability to Trigger Events and Display
Ability to Analyze Event Frequency and Duration
Ability to Assign What States Affect OEE Calculation
Production Progress
Provide a Clear Indication of Job or Production Order Progress to the Operator in Real-time
Ability to Calculate OEE Other Key Parameters
Ability to Estimate Expected Completion Date and Time
Equipment Utilization and Downtime
Overall Equipment Effectiveness (OEE)
Work Order Execution
Notes: 10-Feb-20
(c) 2002 Invensys Systems, Inc.
4

## Slide 6: MES Performance – Utilization
Organizations need greater visibility into the performance of their
plant assets. They need to learn to identify and remove bottlenecks by
monitoring downtime and utilization of their assets.

## Slide 7: Wonderware Performance and Overall Equipment Effectiveness
  %OEE = %Availability X %Performance X %Quality
  OEE represents an industry standard calculated number that represents how an asset is performing.
    Better than Utilization, which does not reflect Quality
    Better than a Production Rate, which does not reflect the Available Time
    Better than Downtime, which does not reflect the Rate products are produced.

## Slide 8: A Practical OEE Example
Planned Production Time
Planned Operating Time
Operating Time
Lunch, Breaks,
Shutdowns
Downtime
Full Capacity
Speed Loss
Good Production
Rejects

## Slide 9: What does OEE Tell You? Good or Bad?
  Availability is Excellent …
  Quality is Good …
  But what can OEE tell you if you consider Performance in addition?

## Slide 10: What does OEE Tell You? Good or Bad Now…?
  Availability is Good …
  Quality is Excellent …
  But what does OEE tell you this time?

## Slide 11: Performance will enable you to…
InTouch (WindowViewer)
MES .NET Client Controls
Wonderware Information Server (WIS)
USING
InTouch (WindowViewer)
MES .NET Client Controls
USING
Application Server IDE
Utilization Capability Object
USING
Application Server IDE
Utilization Capability Object
USING
“MES Client” tool
USING
Configure MES, Including Security, Utilization, Entity Access Permission, and Shifts and Shift Schedules
Build Equipment Entity Model, Users, and User Groups
Configure and Run Utilization Capability Object (UCO)
Monitor and Modify Utilization;
Create and Start Work Order
Track Downtime Analysis; Generate OEE reports

## Slide 12: MES 2012 Software Components
Database Server
Client tools
Middleware
MES Client
Production
Database (MESDB)
MES Service
MES Middleware Host
Factory
Connector
Configurator
Supervisor
Maintenance
Utilities
Custom .NET Applications
Operator

## Slide 13: MES 2012 - Middleware
Enables communication between the MES clients and the MES database.
MES Middleware Host (WCF software)
Runs activities that must occur on a schedule, such as changing shifts, cleaning up stale sessions, and running a scheduled ERP data exchange.
MES Service
Allows the MES services to communicate with external data sources, such as MX, OPC, and SuiteLink servers.
Factory Connector

## Slide 14: MES 2012 – Client Tools
Used to customize and maintain system-wide values, and add and maintain personnel and plant information.
Configurator
Used to coordinate and oversee the daily activity of the system. You may define and maintain shifts, schedules, and work orders.
Supervisor
Typically used on the shop floor. It is the plant floor operator’s interface to the system. Operator is used to execute a work order.
Operator
Used to configure entire MES system. This tool will be used in the class to enter all parameters and configuration information.
MES Client

## Slide 15: MES – System Platform Integration
Galaxy
UCO
Entity
Object
Database Server
Clients
Middleware
Configurator
Production
Database
MES Service
Middleware Host
Factory
Connector
Supervisor
Operator
Utilities
MES Client
IDE
DAO
DIO
ArchestrA
Reports
IIS
G R
Downtime Analysis
OEE Reports
Raw Reason Codes
Counters
Targets
General Parameters
MES Users
Utilization
Shifts and Schedules
Custom App.
Middleware Proxy
InTouch
Middleware Proxy
Utilization
Downtime Pareto
OEE Calculation

## Slide 16: System Requirements – Software
 | Client Components | Database | Middleware | Factory Connector | Manager | WIS
Windows Server 2003 R2 (32-bit only) |  |  |  |  |  | 
Windows Server 2008 (32 and 64 bit) |  |  |  |  |  | 
Windows Server 2008 R2 (32 and 64 bit) |  |  |  |  |  | 
Windows Vista (32 and 64 bit) |  |  |  |  | x | x
Windows XP (32 bit only) |  |  |  |  |  | x
Windows 7 (32 and 64 bit) |  |  |  |  |  | 
SQL Server 2008, 2008 R2, 2012 or Oracle 10g, 11g Release 2 (32 and 64 bit) |  |  |  |  |  | 
.NET Framework 3.5 SP1 |  |  |  |  |  | 

## Slide 17: System Requirements – Hardware
 | Minimum | Recommended
CPU | Single-Core 3 GHz | Dual-Core 2 GHz
RAM | 2 GB | 2 GB
 | Minimum
CPU | Single-Core 2 GHz
RAM | 1 GB
 | Minimum
Hard Drive | 30 GB available
Display | SVGA (1024x768)
Optical Drive | DVD Drive
Input Device | Keyboard and Mouse
Database or Middleware Server
Web Application Server
All Systems

## Slide 18
Always check README file before installing software. It gives:
System requirements
Product compatibility
Licensing
Upgrade information
Resolved issues
Known issues
Documentation guide
System Requirements