## Slide 1: Course Description
The MES 2012 - Quality course is a 2-day, instructor-led class designed to provide a fundamental understanding of the features and functionality of Wonderware MES Software/Quality. The course provides lectures and hands-on labs to supply and reinforce the knowledge necessary to use Wonderware MES Software/Quality to address the configuration and deployment of a data collection system, which allows for the analysis and reporting of Quality Management data using a Sample Recording Object.

## Slide 2: Wonderware MES/Quality Course Objectives
Implement the concepts of MES Software/Quality
Describe the relationship of MES Software/Quality to MES Software/Operations
Use the Wonderware MES Client application to define Sample Plans and their frequency, characteristics and Quality Management specifications
Configure the Sample Recording Object
Build the Sample Viewer Control
Implement a Control Chart interface using ArchestrA graphics
Use Wonderware Information Server to view ArchestrA reports

## Slide 3: Requirements & Expectations
Participants should have knowledge on the following topics:
  MES/Operations
  Wonderware Application Server
    ArchestrA IDE
  Wonderware InTouch
    Application development
    ArchestrA Graphics development
  Manufacturing industry experience

## Slide 4: Wonderware MES 2012 – Quality
Agenda
Contents
Module 1: Introduction
Module 2: MES Client Configuration
Module 3: MES Quality Configuration
Module 4: Integration with MES/Operations
Module 5: MES Reporting Features
Notes: This is the agenda for the Course.
It only lists the modules, not the section or labs.
The full detail of the agenda is available in the corresponding training book.

## Slide 5: 1
Introduction

## Slide 6: MES 2012 - Quality
Module 1:
Introduction
Contents
Section 1: Introduction
Section 2: Wonderware System Platform Review
Section 3: Wonderware MES/Quality
Section 4: System Requirements and Licensing
Notes: This is the agenda for the Module.
It lists all the sections and labs for the module.

## Slide 7: Wonderware MES Software/Quality Features and Benefits
  Automation of quality sampling procedures
    Enforcement direct from plant equipment or control systems
  Increased operational efficiency
    Improved accuracy of quality data
    Reduced cost of quality
  Dynamic quality sample management
    Changing production schedules and on
    Current work order execution status

## Slide 8: Wonderware MES Software/Quality Features and Benefits
  Higher operational agility while securing compliance/safety
  Near real-time SPC Monitoring of sampled data
    Notifications of rules and limit violations
  Increased product quality and reduced losses
    Tighter control and faster response to non conformance or deviations