Alarm DB Purge & Archive Utility

InTouch Alarm database is getting to large and needs to be archived and purged. This can be accomplished by using the Alarm DB Purge-Archive Utility as below

- Launch the Utility  go to genral tab and click on archive

- Go to Database and enter SQL credentials and test connnections

- Click on the Purge/Archive tab and setup the desired schedule for the purge and archive to happen. Or click on the Purge Now

- Now all SQL database will be stored in the desired folder