ANNEXURE – I

| Average Frequency of the time block (Hz) |  | Charges for Deviation (Paise/kWh) |
| --- | --- | --- |
| Below | Not Below |  |
|  | 50.05 | 0.0 |
| 50.05 | 50.04 | Slope determined by joining the price at Not Below 50.05 Hz and identified price at 50.00 Hz, and as detailed in the note below this Regulation |
| 50.04 | 50.03 |  |
| 50.03 | 50.02 |  |
| 50.02 | 50.01 |  |
| 50.01 | 50.00 | Daily (simple) average Area Clearing Price discovered in the Day Ahead Market segment of power exchange |
| 50.00 | 49.99 | Slope determined by joining the price |
| 49.99 | 49.98 |  |
| 49.98 | 49.97 | identified at 50.00 Hz and price at below 49.85 Hz, and as detailed in the note below this Regulation |
| 49.97 | 49.96 |  |
| 49.96 | 49.95 |  |
| 49.95 | 49.94 |  |
| 49.94 | 49.93 |  |
| 49.93 | 49.92 |  |
| 49.92 | 49.91 |  |
| 49.91 | 49.90 |  |
| 49.90 | 49.89 |  |
| 49.89 | 49.88 |  |
| 49.88 | 49.87 |  |
| 49.87 | 49.86 |  |
| 49.86 | 49.85 |  |
| 49.85 |  | 800.00 |